Investigating the random nature of radioactive decay

Introduction

This activity can be carried out during the introduction of the students to radioactive materials.

Aim and skills covered

- To illustrate the random nature of radioactive decay

- Use radioactive materials safely

- Measure radioactive decay

- To appreciate how the use of larger quantities of data can support the outcome of an investigation

Intended class time

- 45 to 60 minutes

Links to Specifications

Physics A

- 6.4.3(a) radioactive decay; spontaneous and random nature of decay

Physics B Advancing Physics

- 5.1.1(a)(iii) the exponential form of radioactive decay as a random process with a fixed probability, the number of nuclei decaying being proportional to the number remaining

- 6.2.2(a)(i) the nature and effects of ionising radiations

Practical Skills

- 1.2.1(b) safely and correctly use a range of practical equipment and materials

- 1.2.1(c) follow written instructions

- 1.2.1(d) make and record observations/measurements

- 1.2.1(e) keep appropriate records of experimental activities

- 1.2.1(f) present information and data in a scientific way

- 1.2.1(g) use appropriate software and tools to process data

- 1.2.1(j) use a wide range of experimental and practical instruments, equipment and techniques appropriate to the knowledge and understanding included in the specification

- 1.2.2(b) use of appropriate digital instruments

- 1.2.2(k) use of ICT such as computer modelling or software to process data

- 1.2.2(l) use of ionising radiation, including detectors

CPAC (section 5g Table 2)

- Follows written procedures

(3) Safely uses a range of practical equipment and materials

(4) Makes and records observations

Mathematical skills

- M0.1 Recognise and make use of appropriate units in calculations

- M1.1 Use an appropriate number of significant figures

- M1.2 Find arithmetic means

- M1.3 Understand probability in the context of radioactive decay

Equipment

Teachers will need to ensure learners are familiar with the apparatus below in order to demonstrate these Practical Skills.

- radioactive object such as a gas mantle in a sealed plastic bag or thoriated welding rod

- Geiger-Műller (GM) tube

- counter

The gas mantle should be one which contains thorium oxide such as the original Tilley type 164X, although this is now being replaced by a model identified as “NON-RADIO-ACTIVE” (sic) which is not suitable for this activity. Other brands which contain yttrium instead of thorium are not radioactive.

An alternative to the gas mantle is to use a thoriated welding rod available from specialist welding suppliers.

The teacher should ascertain that the method described in the worksheet gives suitable results. Dependant on the GM tube it may be necessary to remove the plastic cover from the GM tube. If so, users should be very careful with the tube window and replace the cover immediately after the experiment.

Health & Safety

The requirements of CLEAPSS L93 “Managing Ionising Radiations and Radioactive Substances in Schools and Colleges” (November 2019) should be in place. The model risk assessment for radioactive sources, type 12, on page 47 of L93 details the specific requirements.

Issue pages 21 to 23 of CLEAPSS L93 to students who should read this before starting the practical activity.

The ready availability for public use implies the risk is not high, but there is a small risk from inhalation or ingestion of radioactive particles.

For gas mantle fragments this is overcome by keeping it in the sealed bag. This practical activity works with the mantle contained in this way.

Also do not use burnt mantles as they easily crumble into fine ash.

For thoriated welding rods centres should not cut, abrade, or create airborne particles from the rod in any way.

Before carrying out any experiment or demonstration based on this guidance, it is the responsibility of teachers to ensure that they have undertaken a risk assessment in accordance with their employer’s requirements, making use of up-to-date information and taking account of their own particular circumstances. Any local rules or restrictions issued by the employer must always be followed.

Notes

- These practical activities are not controlled assessments, should not be carried out in exam conditions and can be adapted by the centre. Students can collaborate during the activities which should take place as part of the normal teaching sequence. They are intended to be formative with students acquiring and practising skills throughout the course.

- To achieve a pass in the Practical Endorsement each student is required to demonstrate competence in all the skills, apparatus and techniques listed in section 1.2 of the specification and assessed against the Ofqual Common Practical Assessment Criteria (CPAC) at the end of the course.

- The skills, apparatus and techniques can be demonstrated during any practical work undertaken during the A Level course whether an OCR practical activity or not.

- Learners could work in groups of two or three and each be responsible for taking ten readings each of a ten second count time.

- OCR recommends that this experiment is trialled by the teacher in advance of giving it to the students to ensure familiarity with the equipment

- Data logging equipment will provide a more substantial data set to demonstrate the required outcome, but in the first instance it is recommended students take their own readings directly from the apparatus.

Recording

- Learners should not need to re-draft their work but rather keep all their notes as a continuing record of practical activity.

- Learners should have evidence of the data collected from their group in a clear and logical format.

- They should comment on their observations

- A detailed risk assessment is not a requirement of the Practical Endorsement but this experiment allows students to consider factors which are relevant to safety which may be assessed in the written examination.

Acknowledgement

This practical activity is based on Whitcher, R. (2011) “Practical work using low-level radioactive materials available to the public”, School Science Review, June 2011 p65-74.